Engineering Department Comments

Lincoln Center III Arena

# Sanitary Sewer

- A grease trap will be required for the proposed restaurant and food concessions.

- A backflow preventer  will need to be installed on the sanitary  lateral

- Show plan/profile view of sanitary  sewer lines

## Storm Sewer

- Show downspouts tied into the storm sewer system

- Show plan/profile of storm sewer system

## General

- Detail drawings and typical sections will be needed for the driveway, sidewalk, curb, and wheelchair ramps

- Show access door for handicapped parking spaces

- Who will complete the sidewalk/curb around the perimeter of the site?

- Hatch property area not yet owned by City.

- Show all utility connections to building from street.

- Agathon  driveway should be marked as a drop-off only/firelane with no parking

- Talk with Gary Slinger of the Massillon Fire Department regarding the placement of fire hydrants around the building

- Submit a utility plan and a final grading plan to the City Engineer’s office.