April 10, 2014

Hurley and Stewart LLC

2800 11th Street

Kalamazoo, MI  49009

ATTN: Bryan Gillespie

RE:	Dollar General Site Plan Review

Mr. Gillespie:

The City of Massillon Engineering Department has reviewed the submitted site plan for the above referenced project.  The following comments have been compiled along with the attached set of red lined drawings need to be re-submitted for review.  In your re-submittal provide a response letter addressing each comment and three (3) revised sets plans and if applicable two (2) copies of supporting documentation.

GENERAL

- The Surveyor of record that provided the topography/grading and boundary must also stamp and sign the plans.

- Provide copy of ODOT approval for access drive onto Lincoln Way West  (State Route 172)

- Add City of Massillon details to plans for driveways, road cut repairs, etc  (see attached)

- Provide a copy of the soils report for this project.

- Label all water line details as Aqua Ohio not City of Massillon

SHEET C1  – SITE LAYOUT PLAN

- Show the correct right of way widths for Lincoln Way and Lanedale Street.  Label the roadway widths curb to curb.

- Label the distance of the new driveway from the centerline of Lanedale / Lincoln Way intersection

- Label the width of the curb cut onto Lincoln Way.

- Install 5-foot-wide sidewalk along Lanedale Street per section 1111.09 of the zoning code.  ADA ramp required at northeast corner of the intersection.

- Label locations of site lighting poles on this sheet.

SHEET C2  – EXISTING CONDITIONS

- Label information for adjoining lots including Lot numbers, Zoning, owners names, etc.

- Clearly label the corporation line and areas which are City / Township

- Clearly label the right-of-way lines for all streets.

SHEET C3  – UTILITY PLAN

- Show information for existing storm sewers.  The chart on page 2 should be on this sheet.

- Show where the 24 inch pipe going southwest out of the detention pond is connecting into the storm drainage system.

- Where is detail for storm Manhole 5 shown?

- Clearly label each fire hydrant near this site.   Is there water line / hydrants on the south side of Lincoln Way.  Is a fire suppression system used on this building?

- Show a profile view of the proposed storm sewer outlet from detention pond tying into the existing pipe on Lanedale (similar to drawing on sheet S-2).  Show the existing waterline crossing and new manhole location.

- Is outlet control structure detail (as shown on C6) used for this site?   Show in profile view.

- Change casting for manhole 5 to City of Massillon standard lid, East Jordan 1040 (see attached detail)

- Use concrete headwall for inlet pipe at detention basin not FES.

- Provide calculations for rip rap areas.

SHEET S-2 EROSION CONTROL PLAN

- Is the “slow release overflow” a permanent or temporary structure?  Label as such.

If you have any questions or need additional information please contact our office at 330-830-1722.

Respectfully,

KEITH A. DYLEWSKI, P.E., P.S.

CITY ENGINEER

Jason Haines

Engineering Technician

(Enclosures)