December 1, 2019

Burns and McDonnell

9400 Ward Parkway

Kansas City, MO  64114

ATTN: Chris Wilson PE

RE:	First Energy Site Plan Review

Mr. Wilson:

The City of Massillon Engineering Department has reviewed the submitted site plan for the above referenced project.  The following comments have been compiled for the site plan.  In your re-submittal provide a response letter addressing each comment and three (3) revised sets of plans and if applicable two (2) copies of supporting documentation.

SITE PLAN

- Show and call out the existing ditch / swale along the east side of Recovery Rd.  Label as to remain and replaced if disturbed.

- Show and label site sign?, and any lighting.

- Show location of poles / lines to serve this facility?  Will there be any open cuts or crossings on Recovery rd?

- The commercial driveway approaches are required to be concrete per city driveway detail.  See attached.

- Note what will be done with the existing substation which is oddly, not on the FirstEnergy property.

- Label the setback for the station / fence from the north property line.

- Show and call out drainage swale along the north property line.

- Show and call out golf course tee box along north property line.

- Show and call out some type of evergreens / vegetation screening for the north property line along golf course tee box #3 south.

If you have any questions or require additional information, please contact our office at 330-830-1722.

Respectfully,

Jason M. Popiel,  P.E., CPESC

CITY ENGINEER

Jason Haines

Engineering Technician

(Enclosures)