September 13, 2021

Roger Newberry

Partners Environmental

31100 Solon Road Suite G

Solon, OH  44139

RE:	RJ Matthews Site Plan Review

Mr. Newberry:

The City of Massillon Engineering Department has reviewed the submitted site plan for the above referenced project.  The following comments have been compiled and need to be revised and re-submitted for final review.  In your re-submittal provide a response letter addressing each comment and three (3) revised sets plans and if applicable two (2) copies of supporting documentation.

GENERAL

- Provide approval letter from Stark Soil and Water Conservation District regarding erosion control plans.

- Show and label existing 100-year storm elevation and proposed 100-year elevations at storm water pond

- Change city Engineer signature approval line to Jason Popiel,  PE

- The two out lots were replatted in 2014.  Revise to show lots correctly

- Label the owners, parcel numbers, and zoning for adjoining lots

- Label the total building area, parking areas, and landscape area for the site.

- Label the use of the building addition. If there are restrooms, we will need ap plumbing plan showing connection to existing  and fixture count.

If you have any questions or require additional information, please contact our office at 330-830-1722.

Respectfully,

Jason M. Popiel,  P.E., CPESC

CITY ENGINEER

Jason Haines

Engineering Technician