 April 1, 2023
Shawn Berry, PE
Toth and Associates
1550 East Republic Road
Springfield, MO   65804
RE:
7 Brew Coffee Site Plan Review
Mr. Berry:
The City of Massillon Engineering Department has reviewed the submitted site plan for the above referenced project.  The following comments have been compiled and need to be revised and re-submitted for final review.  In your re-submittal provide a response letter addressing each comment and three (3) revised sets plans and if applicable two (2) copies of supporting documentation.
GENERAL
1) Remove 2600 Lincoln Way from the plan set, that is the address of the storage facility and coffee shop will be given a new address.
2) Several plan pages have text issues, specifically with the key notes, I cannot read any of these lines or items

3) Provide cross-access agreements with adjoining lot owners for ingress and egress through their site driveway areas.

4) Clearly show site location, provide a small vicinity map, label lot numbers, parcel numbers, etc.

5) Label existing data for Lincoln Way including pavement width, lane width, eop, etc

6) Show and label existing traffic signal to the east which will provide access to the proposed development

7) Show and label existing driveway entrance at Lincoln way which will provide access to the proposed development.  Label width of driveway
8) Show any open cut areas in the roadway and include City of Massillon trench repair detail
9) Show specific directional signage or striping etc.  for traffic in/out of site

10) Show location of site pylon sign 
11) Show separate sanitary laterals for both lots (see drawing).  They do not connect together as drawn

12) Provide 6-inch SDR35 sanitary lateral as close to the building as possible 
13) Show detail of connection into existing storm manhole.  This may be a “filtration chamber” for the underground detention system.   So specific design, elevations will be needed for the core drill.

14) Show building downspouts connecting into the storm sewer system
15) Show sump pump connection into the sanitary sewer---not storm sewer---
16) Provide a plumbing plan /fixture count for the new building

17) Provide a photometric plan for the site lighting

 If you have any questions or require additional information, please contact our office at 330-830-1722.

Respectfully,
Gregory A .McCue
Civil Engineer IV
Jason Haines
Engineer Technician
